## Bill_of_Quantities
Item Ref | Trade Section | Description | Unit of Measure | Tender Qty | Unit Rate USD | Total Cost USD | Lead Time Weeks | Preferred Vendor
BOQ-01.01 | Earthworks | Site clearance and bulk soil excavation | m3 | 4500 | 32.5 | 146250 | 3 | Titan Terraforming
BOQ-01.02 | Earthworks | Compacted granular structural fill (300mm layers) | m3 | 2800 | 48 | 134400 | 2 | Titan Terraforming
BOQ-01.03 | Earthworks | Deep foundation drilling and soil stabilization | m | 640 | 115 | 73600 | 4 | Apex Groundworks
BOQ-02.01 | Concrete | Reinforced concrete foundation pad C35/45 | m3 | 1200 | 285 | 342000 | 3 | Holcim Premix Corp
BOQ-02.02 | Concrete | High-tensile deformed rebar steel (Grade 500) | tonnes | 165 | 1250 | 206250 | 5 | ArcelorMittal Distribution
BOQ-02.03 | Concrete | Post-tensioned suspended floor slabs (250mm) | m2 | 3200 | 95 | 304000 | 4 | Holcim Premix Corp
BOQ-02.04 | Concrete | Architectural exposed aggregate precast panels | m2 | 850 | 165 | 140250 | 8 | Permasteelisa Group
BOQ-03.01 | Structural Steel | Hot-rolled wide flange steel columns W14x90 | tonnes | 110 | 2400 | 264000 | 6 | Vulcan Steelworks
BOQ-03.02 | Structural Steel | Heavy structural roof trusses span 24m | nr | 18 | 14500 | 261000 | 8 | Vulcan Steelworks
BOQ-03.03 | Structural Steel | Galvanized cold-formed Z-purlins 200mm | m | 3400 | 22 | 74800 | 3 | Lindab Building Systems
BOQ-03.04 | Structural Steel | Exterior perimeter seismic brace assemblies | sets | 24 | 6200 | 148800 | 7 | Nippon Steel Fabrication
BOQ-04.01 | Thermal Envelope | Mineral wool core insulated composite sandwich panel | m2 | 4800 | 72 | 345600 | 6 | Kingspan Insulated Panels
BOQ-04.02 | Thermal Envelope | Double-glazed argon-filled curtain wall glazing | m2 | 1250 | 420 | 525000 | 10 | Schüco International
BOQ-04.03 | Thermal Envelope | TPO single-ply reflective commercial roof membrane | m2 | 4200 | 45 | 189000 | 4 | Carlisle SynTec Systems
BOQ-05.01 | HVAC Mechanical | Variable refrigerant flow (VRF) rooftop condenser units | nr | 6 | 38500 | 231000 | 12 | Daikin Applied
BOQ-05.02 | HVAC Mechanical | Double-wall galvanized spiral ventilation ducting | m | 1850 | 65 | 120250 | 5 | Lindab Building Systems
BOQ-05.03 | HVAC Mechanical | High-efficiency energy recovery ventilation wheels | nr | 4 | 18200 | 72800 | 8 | Systemair Global
BOQ-06.01 | Electrical & Low Voltage | 1500kVA cast resin step-down power transformer | nr | 2 | 62000 | 124000 | 16 | Schneider Electric
BOQ-06.02 | Electrical & Low Voltage | Main low voltage distribution switchboard 3200A | nr | 1 | 145000 | 145000 | 14 | ABB Power Solutions
BOQ-06.03 | Electrical & Low Voltage | Continuous perforated aluminum cable tray 300mm | m | 2200 | 38 | 83600 | 3 | OBO Bettermann
BOQ-06.04 | Electrical & Low Voltage | Category 6A shielded structured data cabling | m | 14500 | 4.2 | 60900 | 2 | Belden Cable Solutions
BOQ-07.01 | Fire Protection | Pre-action dry pipe automatic fire sprinkler grid | points | 850 | 95 | 80750 | 6 | Viking Sprinkler Corp
BOQ-07.02 | Fire Protection | Diesel-driven centrifugal multistage fire pump skid | nr | 1 | 88000 | 88000 | 14 | Grundfos Industrial
BOQ-08.01 | Interior Architecture | Heavy-duty chemical resistant self-leveling epoxy flooring | m2 | 3600 | 55 | 198000 | 3 | Sika Building Systems
BOQ-08.02 | Interior Architecture | Demountable acoustic glazed modular office partitions | m | 320 | 380 | 121600 | 5 | Maars Living Walls
BOQ-08.03 | Interior Architecture | Suspended micro-perforated acoustic ceiling baffle tiles | m2 | 2800 | 48 | 134400 | 4 | Armstrong World Industries
BOQ-09.01 | Civil & Paving | Heavy-duty asphalt paving for articulated logistics apron | m2 | 5200 | 42 | 218400 | 3 | Hanson Paving Group
BOQ-09.02 | Civil & Paving | Stormwater attenuation detention modular tank 400m3 | nr | 1 | 95000 | 95000 | 6 | Wavin Water Management
BOQ-09.03 | Civil & Paving | High-security anti-climb welded wire perimeter fence | m | 1400 | 75 | 105000 | 4 | Betafence Systems
BOQ-10.01 | Specialist Equipment | Electric overhead bridge crane capacity 15 tonnes | nr | 2 | 78000 | 156000 | 18 | Konecranes Heavy Logistics